## Example
Water Budget Chart
Location ID per Tap | Irrigated Area Calculated (SF) | Irrigated Area (%) | Hydrozone | Water Need (gallons/SF) | Annual Water Use (gallons) | Hydrozone | Annual Water Need
A1 | 3400 | 12.92% | High | 18 | 61200 | High | 18
A2 | 3000 | 11.4% | High | 18 | 54000 | Moderate | 14
A3 | 15100 | 57.39% | Moderate | 14 | 211400 | Low | 7
A4 | 1310 | 4.979% | Low | 7 | 9170 | Very Low | 0.9
A5 | 1200 | 4.561% | Very Low | 0.9 | 1080
A6 | 2300 | 8.742% | Moderate | 14 | 32200
Irrigated Area Total | 26310 | 100% |  |  | 369050
Total High Hydrozone | 6400 | 24.33%
Overall Site Use (Gallons/Square Foot) | 14.027
Please note: | The landscape plan meets the water budget chart requirements.

## Worksheet
Instructions:
1. Organize the chart by irrigated zones for each tap. If more than one tap is proposed, provide both a separate chart for each tap and a combined total.
2. Divide the plan into hydrozones, grouping plants with similar water needs together. Check the City of Greeley Plant List to determine the appropriate hydrozones for plants in your design. Please note, areas identified as very low hydrozone may only contain plants listed on Greeley Water Conservation Very Low Hydrozone Plant List. Additional very low plants may be approved by the discretion of the Water and Sewer Director or designee thereof.
3. Enter site data for the Location ID per Tap, Irrigated Area (square feet), and Hydrozone, and the worksheet will calculate the site's water budget. Grayed out cells are calculated and cannot be edited.
4. The overall site plan will only be accepted if it uses no more than 15 gallons per square foot per watering season and the percentage of the landscape in high hydrozone is no greater than 25%. If the budget calculated is greater than 15 gallons per square foot per season or if more than 25% of the landscape is in high hydrozone, the calculated cells will turn red, indicating the landscape plan should be redesigned and water budget recalculated.
Water Budget Chart
Location ID per Tap | Irrigated Area (square feet) | Irrigated Area (%) | Hydrozone (choose one) | Water Need (gallons/square feet) | Annual Water Use (gallons) | Hydrozone | Annual Water Need (gal/sq. ft.)
[6 empty] | High | 18
[6 empty] | Moderate | 14
[6 empty] | Low | 7
[6 empty] | Very Low | 0.9
Irrigated Area Total | 0 | 0% |  |  | 0
Total High Hydrozone | 0
Overall Site Use (Gallons/Square Foot)
Please note: